Alabama Natural Gas Association
Gas Worker
Training & Assessment Program

Program at a Glance

Plan A (30 Day) Tasks

1. General Expectations of the Job

2. Properties & Characteristics of Natural Gas

3. Proper Safety Equipment & Concerns Regarding Surroundings

4. Tools, Equipment & Material
5. Types & Sizes of Pipes & Fittings

6. Conducting the Truck Inspection
7. Gauges

8. Conducting a Soap Test
9. Utility Colors

Plan B (60 Day) Tasks

1. Proper Location of Tools & Materials on Truck for Replacement/Restock
2. Emergency Response Plan & Outage Plan
3. Proper Excavation & Safety Concerns of Working in Confined Spaces
4. Squeeze off PE Pipe 
5. Abandon/Retire/Kill Services & Mains 
6. Purge the Service/Main

7. Install/Renew a Service Line 

8. Pressure Test Services and Mains

9. Bar Hole Testing
10. Using Gas Detection Equipment
11. Cut & Thread Pipe
Plan C (120 Day) Tasks

1. Read a Meter Index

2. Meter Basics & Types of Meters

3. Regulator Basics & Types of Regulators
4. Repair Gas Leaks on Services

5. Install a New Main
6. Insert Steel Services

7. Tie In

8. Relocate Mains and Services

9. Repair Gas Leaks on Mains
Plan D (180 Day) Tasks

1. Build a First Cut
2. Split Service
3. Set a Regulator
4. Use of a Locator
5. Leak Grades 
6. Set a Meter
7. Shut In Test or Clocking a Meter

Other Tasks & Responsibilities 

OQ Testing

Other Periodic Responsibilities (e.g., Walking Surveys)
Computer Applications /Paperwork

Attend Fire School

Attain CDL
Learn to Operate Excavation Equipment
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